## Header
Method
Method | Quick Measurement
Originator | Biochrom
Created | 10/02/2012
Settings
Wavelengths | 640 nm
Measurement Mode | Single wavelength
Shaking Mode | Single
Shaking Amplitude | Normal
Shaking Speed | Medium
Shaking Duration | 00:00:01
Use Timing | False
Results
Date and Time | 01/06/2022 12:43:11
Result Validity | Valid
Data Validity | Valid
Operator | FBR-CNR\Supervisore
Instrument | Biochrom EZ Read 2000
Instrument SN | 505086
Firmware Version | 1.1a
Layout
Plate Definition
Plate Layout | Standard
1: Group 1 | Sample wells

## Results
Well | Name | A640
A1 | Sample 1.1 | 1.931
A2 | Sample 1.2 | 2.308
A3 | Sample 1.3 | 0.038
A4 | Sample 1.4 | 0.038
A5 | Sample 1.5 | 1.323
A6 | Sample 1.6 | 1.308
A7 | Sample 1.7 | 0.038
A8 | Sample 1.8 | 0.038
A9 | Sample 1.9 | 0.038
A10 | Sample 1.10 | 0.038
A11 | Sample 1.11 | 0.038
A12 | Sample 1.12 | 0.054
B1 | Sample 1.13 | 2.054
B2 | Sample 1.14 | 2.367
B3 | Sample 1.15 | 0.039
B4 | Sample 1.16 | 0.038
B5 | Sample 1.17 | 0.624
B6 | Sample 1.18 | 0.58
B7 | Sample 1.19 | 0.038
B8 | Sample 1.20 | 0.046
B9 | Sample 1.21 | 0.038
B10 | Sample 1.22 | 0.037
B11 | Sample 1.23 | 0.04
B12 | Sample 1.24 | 0.041
C1 | Sample 1.25 | 2.121
C2 | Sample 1.26 | 2.281
C3 | Sample 1.27 | 0.039
C4 | Sample 1.28 | 0.037
C5 | Sample 1.29 | 0.271
C6 | Sample 1.30 | 0.287
C7 | Sample 1.31 | 0.037
C8 | Sample 1.32 | 0.038
C9 | Sample 1.33 | 0.038
C10 | Sample 1.34 | 0.039
C11 | Sample 1.35 | 0.047
C12 | Sample 1.36 | 0.039
D1 | Sample 1.37 | 2.173
D2 | Sample 1.38 | 2.163
D3 | Sample 1.39 | 0.04
D4 | Sample 1.40 | 0.039
D5 | Sample 1.41 | 0.119
D6 | Sample 1.42 | 0.127
D7 | Sample 1.43 | 0.037
D8 | Sample 1.44 | 0.037
D9 | Sample 1.45 | 0.038
D10 | Sample 1.46 | 0.039
D11 | Sample 1.47 | 0.038
D12 | Sample 1.48 | 0.04
E1 | Sample 1.49 | 1.967
E2 | Sample 1.50 | 1.94
E3 | Sample 1.51 | 0.039
E4 | Sample 1.52 | 0.039
E5 | Sample 1.53 | 0.087
E6 | Sample 1.54 | 0.091
E7 | Sample 1.55 | 0.038
E8 | Sample 1.56 | 0.037
E9 | Sample 1.57 | 0.038
E10 | Sample 1.58 | 0.038
E11 | Sample 1.59 | 0.037
E12 | Sample 1.60 | 0.04
F1 | Sample 1.61 | 1.59
F2 | Sample 1.62 | 1.911
F3 | Sample 1.63 | 0.041
F4 | Sample 1.64 | 0.038
F5 | Sample 1.65 | 0.074
F6 | Sample 1.66 | 0.082
F7 | Sample 1.67 | 0.039
F8 | Sample 1.68 | 0.038
F9 | Sample 1.69 | 0.038
F10 | Sample 1.70 | 0.039
F11 | Sample 1.71 | 0.04
F12 | Sample 1.72 | 0.041
G1 | Sample 1.73 | 1.037
G2 | Sample 1.74 | 0.982
G3 | Sample 1.75 | 0.039
G4 | Sample 1.76 | 0.04
G5 | Sample 1.77 | 0.079
G6 | Sample 1.78 | 0.083
G7 | Sample 1.79 | 0.045
G8 | Sample 1.80 | 0.045
G9 | Sample 1.81 | 0.038
G10 | Sample 1.82 | 0.038
G11 | Sample 1.83 | 0.039
G12 | Sample 1.84 | 0.038
H1 | Sample 1.85 | 0.096
H2 | Sample 1.86 | 0.093
H3 | Sample 1.87 | 0.039
H4 | Sample 1.88 | 0.04
H5 | Sample 1.89 | 0.081
H6 | Sample 1.90 | 0.096
H7 | Sample 1.91 | 0.04
H8 | Sample 1.92 | 0.038
H9 | Sample 1.93 | 0.037
H10 | Sample 1.94 | 0.038
H11 | Sample 1.95 | 0.041
H12 | Sample 1.96 | 0.04